## Sheet1
[Header]
System | TOC-Vcpn
File Ver. | 00.00.01E
User
Date of creation | 8/5/2019 11:00:05 AM
Comments | ="final 8 samples!
=[System]"
Detector | Combustion
Catalyst | High Sensitivity
ASI Tray | 40 mL Vials
[Data]
Type | Anal. | Sample Name | Sample ID | Origin | Cal. Curve | Dil. | Notes | Date / Time | Spl. No. | Inj. No. | Analysis(Inj.) | Area | Conc. | Result | Excluded | Inj. Vol.
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 11:45:03 AM | 1 | 1 | NPOC | 5.954 | 2.000 |  | 1 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 11:48:17 AM | 1 | 2 | NPOC | 9.213 | 2.000 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 11:52:52 AM | 1 | 3 | NPOC | 9.464 | 2.000 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 11:56:13 AM | 1 | 4 | NPOC | 9.618 | 2.000 |  | 1 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 11:59:02 AM | 1 | 5 | NPOC | 9.186 | 2.000 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:07:26 PM | 2 | 1 | NPOC | 24.29 | 5.000 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:10:25 PM | 2 | 2 | NPOC | 24.46 | 5.000 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:13:48 PM | 2 | 3 | NPOC | 26.09 | 5.000 |  | 1 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:16:56 PM | 2 | 4 | NPOC | 25.31 | 5.000 |  | 1 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:20:03 PM | 2 | 5 | NPOC | 24.29 | 5.000 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:28:37 PM | 3 | 1 | NPOC | 48.10 | 10.00 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:31:47 PM | 3 | 2 | NPOC | 47.87 | 10.00 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:35:02 PM | 3 | 3 | NPOC | 49.97 | 10.00 |  | 1 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:38:20 PM | 3 | 4 | NPOC | 49.61 | 10.00 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:47:06 PM | 4 | 1 | NPOC | 97.54 | 20.00 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:50:35 PM | 4 | 2 | NPOC | 94.90 | 20.00 |  | 1 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:54:11 PM | 4 | 3 | NPOC | 98.93 | 20.00 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 12:57:37 PM | 4 | 4 | NPOC | 98.82 | 20.00 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 1:06:23 PM | 5 | 1 | NPOC | 246.9 | 50.00 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 1:09:43 PM | 5 | 2 | NPOC | 240.9 | 50.00 |  | 1 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 1:13:27 PM | 5 | 3 | NPOC | 251.1 | 50.00 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 1:16:49 PM | 5 | 4 | NPOC | 252.0 | 50.00 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 1:25:02 PM | 6 | 1 | NPOC | 501.0 | 100.0 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 1:28:24 PM | 6 | 2 | NPOC | 487.7 | 100.0 |  | 1 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 1:31:54 PM | 6 | 3 | NPOC | 514.8 | 100.0 |  | 0 | 80
Standard | NPOC | C_cal_100ppm | C_cal_100ppm | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal |  | 1 |  | 8/5/2019 1:35:26 PM | 6 | 4 | NPOC | 508.5 | 100.0 |  | 0 | 80
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 1:44:19 PM | 1 | 1 | TN | 2.283 | 0.5000 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 1:47:32 PM | 1 | 2 | TN | 3.730 | 0.5000 |  | 1 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 1:50:27 PM | 1 | 3 | TN | 2.354 | 0.5000 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 1:53:14 PM | 1 | 4 | TN | 2.057 | 0.5000 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 1:56:44 PM | 1 | 5 | TN | 2.669 | 0.5000 |  | 1 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:03:46 PM | 2 | 1 | TN | 5.428 | 1.000 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:06:59 PM | 2 | 2 | TN | 5.809 | 1.000 |  | 1 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:10:16 PM | 2 | 3 | TN | 5.424 | 1.000 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:13:26 PM | 2 | 4 | TN | 5.947 | 1.000 |  | 1 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:16:36 PM | 2 | 5 | TN | 5.100 | 1.000 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:23:47 PM | 3 | 1 | TN | 9.136 | 1.667 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:27:07 PM | 3 | 2 | TN | 9.206 | 1.667 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:30:18 PM | 3 | 3 | TN | 8.654 | 1.667 |  | 1 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:33:42 PM | 3 | 4 | TN | 9.593 | 1.667 |  | 1 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:36:55 PM | 3 | 5 | TN | 9.117 | 1.667 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:44:48 PM | 4 | 1 | TN | 28.16 | 5.000 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:48:16 PM | 4 | 2 | TN | 27.89 | 5.000 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:51:51 PM | 4 | 3 | TN | 26.86 | 5.000 |  | 1 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 2:55:13 PM | 4 | 4 | TN | 27.62 | 5.000 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 3:02:50 PM | 5 | 1 | TN | 70.71 | 12.50 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 3:06:35 PM | 5 | 2 | TN | 70.59 | 12.50 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 3:10:14 PM | 5 | 3 | TN | 68.71 | 12.50 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 3:17:22 PM | 6 | 1 | TN | 139.1 | 25.00 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 3:21:02 PM | 6 | 2 | TN | 142.5 | 25.00 |  | 0 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 3:24:47 PM | 6 | 3 | TN | 136.8 | 25.00 |  | 1 | 100
Standard | TN | N_cal_25ppm_acid_laurel | N_cal_25ppm_acid_laurel | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal |  | 1 |  | 8/5/2019 3:28:27 PM | 6 | 4 | TN | 142.2 | 25.00 |  | 0 | 100
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 3:39:04 PM | 1 | 1 | NPOC | 29.51 | 24.90 | NPOC:25.35mg/L TN:24.26mg/L | 0 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 3:42:28 PM | 1 | 2 | NPOC | 29.23 | 24.68 | NPOC:25.35mg/L TN:24.26mg/L | 1 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 3:45:56 PM | 1 | 3 | NPOC | 30.50 | 25.68 | NPOC:25.35mg/L TN:24.26mg/L | 0 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 3:49:09 PM | 1 | 4 | NPOC | 30.24 | 25.47 | NPOC:25.35mg/L TN:24.26mg/L | 0 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 3:39:04 PM | 1 | 1 | TN | 27.54 | 24.64 | NPOC:25.35mg/L TN:24.26mg/L | 0 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 3:42:28 PM | 1 | 2 | TN | 26.68 | 23.88 | NPOC:25.35mg/L TN:24.26mg/L | 0 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 3:45:56 PM | 1 | 3 | TN | 28.72 | 25.68 | NPOC:25.35mg/L TN:24.26mg/L | 1 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 3:49:09 PM | 1 | 4 | TN | 27.10 | 24.25 | NPOC:25.35mg/L TN:24.26mg/L | 0 | 80
Unknown | NPOC/TN | DI | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 3:58:04 PM | 1 | 1 | NPOC | 1.133 | 0.6495 | NPOC:0.6339mg/L TN:0.08145mg/L | 0 | 80
Unknown | NPOC/TN | DI | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 4:00:22 PM | 1 | 2 | NPOC | 0.9677 | 0.6171 | NPOC:0.6339mg/L TN:0.08145mg/L | 0 | 80
Unknown | NPOC/TN | DI | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 4:02:37 PM | 1 | 3 | NPOC | 1.059 | 0.6350 | NPOC:0.6339mg/L TN:0.08145mg/L | 0 | 80
Unknown | NPOC/TN | DI | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 3:58:04 PM | 1 | 1 | TN | 0.000 | 0.08145 | NPOC:0.6339mg/L TN:0.08145mg/L | 0 | 80
Unknown | NPOC/TN | DI | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:00:22 PM | 1 | 2 | TN | 0.000 | 0.08145 | NPOC:0.6339mg/L TN:0.08145mg/L | 0 | 80
Unknown | NPOC/TN | DI | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:02:37 PM | 1 | 3 | TN | 0.000 | 0.08145 | NPOC:0.6339mg/L TN:0.08145mg/L | 0 | 80
Unknown | NPOC/TN | 1037 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 4:12:10 PM | 1 | 1 | NPOC | 22.77 | 4.901 | NPOC:4.931mg/L TN:0.7492mg/L | 0 | 80
Unknown | NPOC/TN | 1037 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 4:15:10 PM | 1 | 2 | NPOC | 22.65 | 4.877 | NPOC:4.931mg/L TN:0.7492mg/L | 0 | 80
Unknown | NPOC/TN | 1037 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 4:18:05 PM | 1 | 3 | NPOC | 23.35 | 5.015 | NPOC:4.931mg/L TN:0.7492mg/L | 0 | 80
Unknown | NPOC/TN | 1037 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:12:10 PM | 1 | 1 | TN | 2.835 | 0.7072 | NPOC:4.931mg/L TN:0.7492mg/L | 1 | 80
Unknown | NPOC/TN | 1037 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:15:10 PM | 1 | 2 | TN | 2.930 | 0.7282 | NPOC:4.931mg/L TN:0.7492mg/L | 0 | 80
Unknown | NPOC/TN | 1037 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:18:05 PM | 1 | 3 | TN | 3.061 | 0.7571 | NPOC:4.931mg/L TN:0.7492mg/L | 0 | 80
Unknown | NPOC/TN | 1037 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:20:54 PM | 1 | 4 | TN | 3.085 | 0.7624 | NPOC:4.931mg/L TN:0.7492mg/L | 0 | 80
Unknown | NPOC/TN | 1039 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 4:30:22 PM | 1 | 1 | NPOC | 19.90 | 4.337 | NPOC:4.361mg/L TN:0.3804mg/L | 0 | 80
Unknown | NPOC/TN | 1039 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 4:33:17 PM | 1 | 2 | NPOC | 19.79 | 4.315 | NPOC:4.361mg/L TN:0.3804mg/L | 0 | 80
Unknown | NPOC/TN | 1039 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 4:36:14 PM | 1 | 3 | NPOC | 20.55 | 4.465 | NPOC:4.361mg/L TN:0.3804mg/L | 1 | 80
Unknown | NPOC/TN | 1039 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 4:39:09 PM | 1 | 4 | NPOC | 20.38 | 4.431 | NPOC:4.361mg/L TN:0.3804mg/L | 0 | 80
Unknown | NPOC/TN | 1039 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:30:22 PM | 1 | 1 | TN | 1.292 | 0.3666 | NPOC:4.361mg/L TN:0.3804mg/L | 0 | 80
Unknown | NPOC/TN | 1039 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:33:17 PM | 1 | 2 | TN | 1.386 | 0.3874 | NPOC:4.361mg/L TN:0.3804mg/L | 0 | 80
Unknown | NPOC/TN | 1039 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:36:14 PM | 1 | 3 | TN | 1.385 | 0.3871 | NPOC:4.361mg/L TN:0.3804mg/L | 0 | 80
Unknown | NPOC/TN | 1041 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 4:48:52 PM | 1 | 1 | NPOC | 20.42 | 4.439 | NPOC:4.465mg/L TN:0.4361mg/L | 0 | 80
Unknown | NPOC/TN | 1041 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 4:51:41 PM | 1 | 2 | NPOC | 20.45 | 4.445 | NPOC:4.465mg/L TN:0.4361mg/L | 0 | 80
Unknown | NPOC/TN | 1041 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 4:54:28 PM | 1 | 3 | NPOC | 20.78 | 4.510 | NPOC:4.465mg/L TN:0.4361mg/L | 0 | 80
Unknown | NPOC/TN | 1041 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:48:52 PM | 1 | 1 | TN | 2.293 | 0.5876 | NPOC:4.465mg/L TN:0.4361mg/L | 1 | 80
Unknown | NPOC/TN | 1041 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:51:41 PM | 1 | 2 | TN | 1.759 | 0.4697 | NPOC:4.465mg/L TN:0.4361mg/L | 0 | 80
Unknown | NPOC/TN | 1041 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:54:28 PM | 1 | 3 | TN | 1.455 | 0.4026 | NPOC:4.465mg/L TN:0.4361mg/L | 0 | 80
Unknown | NPOC/TN | 1041 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 4:57:28 PM | 1 | 4 | TN | 2.058 | 0.5357 | NPOC:4.465mg/L TN:0.4361mg/L | 1 | 80
Unknown | NPOC/TN | 1041 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 5:00:04 PM | 1 | 5 | TN | 1.606 | 0.4359 | NPOC:4.465mg/L TN:0.4361mg/L | 0 | 80
Unknown | NPOC/TN | 1043 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 5:09:31 PM | 1 | 1 | NPOC | 19.03 | 4.166 | NPOC:4.186mg/L TN:0.4268mg/L | 0 | 80
Unknown | NPOC/TN | 1043 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 5:12:32 PM | 1 | 2 | NPOC | 19.12 | 4.184 | NPOC:4.186mg/L TN:0.4268mg/L | 0 | 80
Unknown | NPOC/TN | 1043 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 5:15:27 PM | 1 | 3 | NPOC | 20.00 | 4.357 | NPOC:4.186mg/L TN:0.4268mg/L | 1 | 80
Unknown | NPOC/TN | 1043 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 5:18:23 PM | 1 | 4 | NPOC | 20.24 | 4.404 | NPOC:4.186mg/L TN:0.4268mg/L | 1 | 80
Unknown | NPOC/TN | 1043 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 5:21:28 PM | 1 | 5 | NPOC | 19.24 | 4.207 | NPOC:4.186mg/L TN:0.4268mg/L | 0 | 80
Unknown | NPOC/TN | 1043 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 5:09:32 PM | 1 | 1 | TN | 1.036 | 0.3101 | NPOC:4.186mg/L TN:0.4268mg/L | 1 | 80
Unknown | NPOC/TN | 1043 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 5:12:32 PM | 1 | 2 | TN | 1.565 | 0.4269 | NPOC:4.186mg/L TN:0.4268mg/L | 0 | 80
Unknown | NPOC/TN | 1043 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 5:15:27 PM | 1 | 3 | TN | 1.587 | 0.4317 | NPOC:4.186mg/L TN:0.4268mg/L | 0 | 80
Unknown | NPOC/TN | 1043 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 5:18:23 PM | 1 | 4 | TN | 1.542 | 0.4218 | NPOC:4.186mg/L TN:0.4268mg/L | 0 | 80
Unknown | NPOC/TN | 1038 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 5:31:19 PM | 1 | 1 | NPOC | 53.23 | 10.89 | NPOC:10.86mg/L TN:1.489mg/L | 0 | 80
Unknown | NPOC/TN | 1038 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 5:34:40 PM | 1 | 2 | NPOC | 52.25 | 10.69 | NPOC:10.86mg/L TN:1.489mg/L | 0 | 80
Unknown | NPOC/TN | 1038 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 5:38:06 PM | 1 | 3 | NPOC | 55.03 | 11.24 | NPOC:10.86mg/L TN:1.489mg/L | 1 | 80
Unknown | NPOC/TN | 1038 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 5:41:29 PM | 1 | 4 | NPOC | 53.75 | 10.99 | NPOC:10.86mg/L TN:1.489mg/L | 0 | 80
Unknown | NPOC/TN | 1038 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 5:31:19 PM | 1 | 1 | TN | 6.531 | 1.523 | NPOC:10.86mg/L TN:1.489mg/L | 0 | 80
Unknown | NPOC/TN | 1038 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 5:34:40 PM | 1 | 2 | TN | 6.064 | 1.420 | NPOC:10.86mg/L TN:1.489mg/L | 1 | 80
Unknown | NPOC/TN | 1038 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 5:38:06 PM | 1 | 3 | TN | 6.383 | 1.490 | NPOC:10.86mg/L TN:1.489mg/L | 0 | 80
Unknown | NPOC/TN | 1038 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 5:41:29 PM | 1 | 4 | TN | 6.217 | 1.454 | NPOC:10.86mg/L TN:1.489mg/L | 0 | 80
Unknown | NPOC/TN | 1038 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 5:44:17 PM | 1 | 5 | TN | 5.764 | 1.354 | NPOC:10.86mg/L TN:1.489mg/L | 1 | 80
Unknown | NPOC/TN | 1040 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 5:53:58 PM | 1 | 1 | NPOC | 36.85 | 7.667 | NPOC:7.621mg/L TN:0.8891mg/L | 0 | 80
Unknown | NPOC/TN | 1040 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 5:57:14 PM | 1 | 2 | NPOC | 36.59 | 7.616 | NPOC:7.621mg/L TN:0.8891mg/L | 0 | 80
Unknown | NPOC/TN | 1040 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 6:00:32 PM | 1 | 3 | NPOC | 38.55 | 8.001 | NPOC:7.621mg/L TN:0.8891mg/L | 1 | 80
Unknown | NPOC/TN | 1040 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 6:03:43 PM | 1 | 4 | NPOC | 38.14 | 7.921 | NPOC:7.621mg/L TN:0.8891mg/L | 1 | 80
Unknown | NPOC/TN | 1040 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 6:06:59 PM | 1 | 5 | NPOC | 36.40 | 7.579 | NPOC:7.621mg/L TN:0.8891mg/L | 0 | 80
Unknown | NPOC/TN | 1040 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 5:53:58 PM | 1 | 1 | TN | 3.636 | 0.8840 | NPOC:7.621mg/L TN:0.8891mg/L | 0 | 80
Unknown | NPOC/TN | 1040 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 5:57:14 PM | 1 | 2 | TN | 3.973 | 0.9584 | NPOC:7.621mg/L TN:0.8891mg/L | 1 | 80
Unknown | NPOC/TN | 1040 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 6:00:32 PM | 1 | 3 | TN | 3.738 | 0.9065 | NPOC:7.621mg/L TN:0.8891mg/L | 0 | 80
Unknown | NPOC/TN | 1040 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 6:03:43 PM | 1 | 4 | TN | 3.478 | 0.8491 | NPOC:7.621mg/L TN:0.8891mg/L | 1 | 80
Unknown | NPOC/TN | 1040 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 6:06:59 PM | 1 | 5 | TN | 3.604 | 0.8769 | NPOC:7.621mg/L TN:0.8891mg/L | 0 | 80
Unknown | NPOC/TN | 1042 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 6:16:39 PM | 1 | 1 | NPOC | 35.13 | 7.329 | NPOC:7.629mg/L TN:0.7645mg/L | 1 | 80
Unknown | NPOC/TN | 1042 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 6:19:50 PM | 1 | 2 | NPOC | 35.38 | 7.379 | NPOC:7.629mg/L TN:0.7645mg/L | 1 | 80
Unknown | NPOC/TN | 1042 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 6:23:09 PM | 1 | 3 | NPOC | 37.11 | 7.718 | NPOC:7.629mg/L TN:0.7645mg/L | 0 | 80
Unknown | NPOC/TN | 1042 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 6:26:23 PM | 1 | 4 | NPOC | 36.72 | 7.642 | NPOC:7.629mg/L TN:0.7645mg/L | 0 | 80
Unknown | NPOC/TN | 1042 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 6:29:31 PM | 1 | 5 | NPOC | 36.14 | 7.528 | NPOC:7.629mg/L TN:0.7645mg/L | 0 | 80
Unknown | NPOC/TN | 1042 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 6:16:39 PM | 1 | 1 | TN | 2.991 | 0.7416 | NPOC:7.629mg/L TN:0.7645mg/L | 0 | 80
Unknown | NPOC/TN | 1042 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 6:19:50 PM | 1 | 2 | TN | 3.139 | 0.7743 | NPOC:7.629mg/L TN:0.7645mg/L | 0 | 80
Unknown | NPOC/TN | 1042 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 6:23:09 PM | 1 | 3 | TN | 3.488 | 0.8513 | NPOC:7.629mg/L TN:0.7645mg/L | 1 | 80
Unknown | NPOC/TN | 1042 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 6:26:23 PM | 1 | 4 | TN | 3.154 | 0.7776 | NPOC:7.629mg/L TN:0.7645mg/L | 0 | 80
Unknown | NPOC/TN | 1044 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 6:39:19 PM | 1 | 1 | NPOC | 39.16 | 8.121 | NPOC:8.153mg/L TN:0.7978mg/L | 0 | 80
Unknown | NPOC/TN | 1044 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 6:42:31 PM | 1 | 2 | NPOC | 38.95 | 8.080 | NPOC:8.153mg/L TN:0.7978mg/L | 0 | 80
Unknown | NPOC/TN | 1044 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 6:45:44 PM | 1 | 3 | NPOC | 41.62 | 8.605 | NPOC:8.153mg/L TN:0.7978mg/L | 1 | 80
Unknown | NPOC/TN | 1044 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 6:48:53 PM | 1 | 4 | NPOC | 39.86 | 8.259 | NPOC:8.153mg/L TN:0.7978mg/L | 0 | 80
Unknown | NPOC/TN | 1044 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 6:39:19 PM | 1 | 1 | TN | 3.088 | 0.7630 | NPOC:8.153mg/L TN:0.7978mg/L | 0 | 80
Unknown | NPOC/TN | 1044 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 6:42:31 PM | 1 | 2 | TN | 3.450 | 0.8429 | NPOC:8.153mg/L TN:0.7978mg/L | 0 | 80
Unknown | NPOC/TN | 1044 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 6:45:44 PM | 1 | 3 | TN | 3.727 | 0.9041 | NPOC:8.153mg/L TN:0.7978mg/L | 1 | 80
Unknown | NPOC/TN | 1044 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 6:48:53 PM | 1 | 4 | TN | 3.872 | 0.9361 | NPOC:8.153mg/L TN:0.7978mg/L | 1 | 80
Unknown | NPOC/TN | 1044 | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 6:51:36 PM | 1 | 5 | TN | 3.198 | 0.7873 | NPOC:8.153mg/L TN:0.7978mg/L | 0 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 7:02:40 PM | 1 | 1 | NPOC | 27.55 | 23.36 | NPOC:23.26mg/L TN:22.81mg/L | 0 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 7:05:57 PM | 1 | 2 | NPOC | 27.24 | 23.12 | NPOC:23.26mg/L TN:22.81mg/L | 0 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 7:09:26 PM | 1 | 3 | NPOC | 29.16 | 24.63 | NPOC:23.26mg/L TN:22.81mg/L | 1 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 7:12:39 PM | 1 | 4 | NPOC | 28.62 | 24.20 | NPOC:23.26mg/L TN:22.81mg/L | 1 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 7:15:31 PM | 1 | 5 | NPOC | 27.47 | 23.30 | NPOC:23.26mg/L TN:22.81mg/L | 0 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 7:02:40 PM | 1 | 1 | TN | 25.47 | 22.81 | NPOC:23.26mg/L TN:22.81mg/L | 0 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 7:05:57 PM | 1 | 2 | TN | 25.42 | 22.77 | NPOC:23.26mg/L TN:22.81mg/L | 0 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 7:09:26 PM | 1 | 3 | TN | 26.85 | 24.03 | NPOC:23.26mg/L TN:22.81mg/L | 1 | 80
Unknown | NPOC/TN | 25ppm | 25ppm | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 7:12:39 PM | 1 | 4 | TN | 25.52 | 22.86 | NPOC:23.26mg/L TN:22.81mg/L | 0 | 80
Unknown | NPOC/TN | DI | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 7:24:12 PM | 1 | 1 | NPOC | 1.036 | 0.6305 | NPOC:0.6286mg/L TN:0.08145mg/L | 0 | 80
Unknown | NPOC/TN | DI | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 7:26:28 PM | 1 | 2 | NPOC | 1.017 | 0.6267 | NPOC:0.6286mg/L TN:0.08145mg/L | 0 | 80
Unknown | NPOC/TN | DI | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\C_cal_100ppm_acid_laurel.2019_08_05_11_33_40.cal | 1 |  | 8/5/2019 7:28:39 PM | 1 | 3 | NPOC | 1.026 | 0.6285 | NPOC:0.6286mg/L TN:0.08145mg/L | 0 | 80
Unknown | NPOC/TN | DI | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 7:24:12 PM | 1 | 1 | TN | 0.000 | 0.08145 | NPOC:0.6286mg/L TN:0.08145mg/L | 0 | 80
Unknown | NPOC/TN | DI | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 7:26:28 PM | 1 | 2 | TN | 0.000 | 0.08145 | NPOC:0.6286mg/L TN:0.08145mg/L | 0 | 80
Unknown | NPOC/TN | DI | DI | C:\TOC3201\Methods\Itamar\acid_sample.met | C:\TOC3201\CalCurves\Itamar\N_cal_25ppm_acid_laurel.2019_08_05_13_35_26.cal | 1 |  | 8/5/2019 7:28:39 PM | 1 | 3 | TN | 0.000 | 0.08145 | NPOC:0.6286mg/L TN:0.08145mg/L | 0 | 80

## Sheet2
Sample Name | Analysis(Inj.) | Area | Conc. | Corr |  | Sample Name | Analysis(Inj.) | Area | Conc. | Corr
C_cal_100ppm | NPOC | 9.213 | 2 |  |  | N_cal_25ppm_acid_laurel | TN | 2.283 | 0.5
C_cal_100ppm | NPOC | 9.464 | 2 |  |  | N_cal_25ppm_acid_laurel | TN | 2.354 | 0.5
C_cal_100ppm | NPOC | 9.186 | 2 |  |  | N_cal_25ppm_acid_laurel | TN | 2.057 | 0.5
C_cal_100ppm | NPOC | 24.29 | 5 |  |  | N_cal_25ppm_acid_laurel | TN | 5.428 | 1
C_cal_100ppm | NPOC | 24.46 | 5 |  |  | N_cal_25ppm_acid_laurel | TN | 5.424 | 1
C_cal_100ppm | NPOC | 24.29 | 5 |  |  | N_cal_25ppm_acid_laurel | TN | 5.1 | 1
C_cal_100ppm | NPOC | 48.1 | 10 |  |  | N_cal_25ppm_acid_laurel | TN | 9.136 | 1.667
C_cal_100ppm | NPOC | 47.87 | 10 |  |  | N_cal_25ppm_acid_laurel | TN | 9.206 | 1.667
C_cal_100ppm | NPOC | 49.61 | 10 |  |  | N_cal_25ppm_acid_laurel | TN | 9.117 | 1.667
C_cal_100ppm | NPOC | 97.54 | 20 |  |  | N_cal_25ppm_acid_laurel | TN | 28.16 | 5
C_cal_100ppm | NPOC | 98.93 | 20 |  |  | N_cal_25ppm_acid_laurel | TN | 27.89 | 5
C_cal_100ppm | NPOC | 98.82 | 20 |  |  | N_cal_25ppm_acid_laurel | TN | 27.62 | 5
C_cal_100ppm | NPOC | 246.9 | 50 |  |  | N_cal_25ppm_acid_laurel | TN | 70.71 | 12.5
C_cal_100ppm | NPOC | 251.1 | 50 |  |  | N_cal_25ppm_acid_laurel | TN | 70.59 | 12.5
C_cal_100ppm | NPOC | 252 | 50 |  |  | N_cal_25ppm_acid_laurel | TN | 68.71 | 12.5
C_cal_100ppm | NPOC | 501 | 100 |  |  | N_cal_25ppm_acid_laurel | TN | 139.1 | 25
C_cal_100ppm | NPOC | 514.8 | 100 |  |  | N_cal_25ppm_acid_laurel | TN | 142.5 | 25
C_cal_100ppm | NPOC | 508.5 | 100 |  |  | N_cal_25ppm_acid_laurel | TN | 142.2 | 25
25ppm | NPOC | 29.51 | 24.9 | 6.2251 | 24.9005 | 25ppm | TN | 27.54 | 24.64 | 4.9443 | 24.7213
25ppm | NPOC | 30.5 | 25.68 | 6.4196 | 25.6786 | 25ppm | TN | 26.68 | 23.88 | 4.7924 | 23.962
25ppm | NPOC | 30.24 | 25.47 | 6.3686 | 25.4743 | 25ppm | TN | 27.1 | 24.25 | 4.8666 | 24.3328
DI | NPOC | 1.133 | 0.6495 | 0.64953 |  | DI | TN | 0 | 0.08145 | 0.081453
DI | NPOC | 0.9677 | 0.6171 | 0.61705 |  | DI | TN | 0 | 0.08145 | 0.081453
DI | NPOC | 1.059 | 0.635 | 0.63499 |  | DI | TN | 0 | 0.08145 | 0.081453
1037 | NPOC | 22.77 | 4.901 | 4.9008 |  | 1037 | TN | 2.93 | 0.7282 | 0.59881
1037 | NPOC | 22.65 | 4.877 | 4.8773 |  | 1037 | TN | 3.061 | 0.7571 | 0.62194
1037 | NPOC | 23.35 | 5.015 | 5.0148 |  | 1037 | TN | 3.085 | 0.7624 | 0.62618
1039 | NPOC | 19.9 | 4.337 | 4.3369 |  | 1039 | TN | 1.292 | 0.3666 | 0.30958
1039 | NPOC | 19.79 | 4.315 | 4.3153 |  | 1039 | TN | 1.386 | 0.3874 | 0.32618
1039 | NPOC | 20.38 | 4.431 | 4.4312 |  | 1039 | TN | 1.385 | 0.3871 | 0.32601
1041 | NPOC | 20.42 | 4.439 | 4.4391 |  | 1041 | TN | 1.759 | 0.4697 | 0.39204
1041 | NPOC | 20.45 | 4.445 | 4.445 |  | 1041 | TN | 1.455 | 0.4026 | 0.33837
1041 | NPOC | 20.78 | 4.51 | 4.5098 |  | 1041 | TN | 1.606 | 0.4359 | 0.36503
1043 | NPOC | 19.03 | 4.166 | 4.166 |  | 1043 | TN | 1.565 | 0.4269 | 0.35779
1043 | NPOC | 19.12 | 4.184 | 4.1837 |  | 1043 | TN | 1.587 | 0.4317 | 0.36167
1043 | NPOC | 19.24 | 4.207 | 4.2073 |  | 1043 | TN | 1.542 | 0.4218 | 0.35373
1038 | NPOC | 53.23 | 10.89 | 10.8857 |  | 1038 | TN | 6.531 | 1.523 | 1.2346
1038 | NPOC | 52.25 | 10.69 | 10.6932 |  | 1038 | TN | 6.383 | 1.49 | 1.2085
1038 | NPOC | 53.75 | 10.99 | 10.9879 |  | 1038 | TN | 6.217 | 1.454 | 1.1792
1040 | NPOC | 36.85 | 7.667 | 7.6673 |  | 1040 | TN | 3.636 | 0.884 | 0.72347
1040 | NPOC | 36.59 | 7.616 | 7.6162 |  | 1040 | TN | 3.738 | 0.9065 | 0.74148
1040 | NPOC | 36.4 | 7.579 | 7.5789 |  | 1040 | TN | 3.604 | 0.8769 | 0.71782
1042 | NPOC | 37.11 | 7.718 | 7.7184 |  | 1042 | TN | 2.991 | 0.7416 | 0.60958
1042 | NPOC | 36.72 | 7.642 | 7.6418 |  | 1042 | TN | 3.139 | 0.7743 | 0.63571
1042 | NPOC | 36.14 | 7.528 | 7.5278 |  | 1042 | TN | 3.154 | 0.7776 | 0.63836
1044 | NPOC | 39.16 | 8.121 | 8.1212 |  | 1044 | TN | 3.088 | 0.763 | 0.62671
1044 | NPOC | 38.95 | 8.08 | 8.0799 |  | 1044 | TN | 3.45 | 0.8429 | 0.69063
1044 | NPOC | 39.86 | 8.259 | 8.2587 |  | 1044 | TN | 3.198 | 0.7873 | 0.64613
25ppm | NPOC | 27.55 | 23.36 | 5.84 |  | 25ppm | TN | 25.47 | 22.81 | 4.5788
25ppm | NPOC | 27.24 | 23.12 | 5.7791 |  | 25ppm | TN | 25.42 | 22.77 | 4.5699
25ppm | NPOC | 27.47 | 23.3 | 5.8243 |  | 25ppm | TN | 25.52 | 22.86 | 4.5876
DI | NPOC | 1.036 | 0.6305 | 0.63047 |  | DI | TN | 0 | 0.08145 | 0.081453
DI | NPOC | 1.017 | 0.6267 | 0.62674 |  | DI | TN | 0 | 0.08145 | 0.081453
DI | NPOC | 1.026 | 0.6285 | 0.62851